08/25/2026

Dear Patient or Caregiver,

We are reaching out with an important Urgent Medical Device Field Correction Notice regarding certain Medline Basic Homecare Beds and Medlite Homecare Beds as a follow-up to the December 1, 2025, February 11, 2026, and March 13, 2026 notices.

Medline has provided additional information regarding two potential safety concerns: overheating of the hand control pendant or its wiring, which may create a fire risk, and the use of non-Medline accessories, which may create an entrapment risk. Medline is continuing to develop a new pendant design intended to fix these issues and will be available later this year.

What you should do

- Immediately inspect your bed and unplug if any of the following are found:

  - Visible damage to the pendant, including liquid damage

  - The pendant or cord is damaged, frayed, or has exposed wires

  - Buttons are stuck or do not work properly

  - The pendant or cord feels warm or hot

- Only use Medline approved pendants and Medline Bed Accessories; follow all applicable instructions for use. Extension cords should never be used.

- Ensure pendant and power cords are routed and secured properly. Never operate the Medline Homecare Bed if the cords are damaged.

- Keep Medline Beds unplugged from wall power, unless adjustments that require electricity are needed.

If any of the above issues are found, please contact Medline by submitting a quality complaint via email address or phone number below:

- Email: QualityAssurance@medline.com; Phone: 1-800-950-0128 option 5

If you’d like to report to the FDA Medwatch you can submit it online at: www.fda.gov/medwatch/report

Please scan the QR code provided for the Medline recall and full list of affected items. PHS will continue to update you as we learn more from Medline. If you have question, please contact your local PHS branch office.

Sincerely,

Samantha Hoy
National Product Safety Manager